|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | | | | TECHNICAL SPECIFICATIONManufacturer’s Specification | | | |
|  | | | | Stationary Battery | 00 Document Reg. No. / Page No. | | |
| 01 Plant | System | | | In-Plant Identification | Art No | | |
| 02 Safety Class (SC) | Functional Class | | | Location | Type Approval / Qualification Report | | |
| 03 Status | Prepared | Reviewed | Approved | 04 Revision | Prepared | Reviewed | Approved |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |

#### In-Plant Identification

|  |  |  |  |
| --- | --- | --- | --- |
| 10 In-Plant Identifications | 11 Quantity | 12 Location, Room No | 13 Plant Requirement Specification |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

#### Product Specification

|  |  |  |
| --- | --- | --- |
| 21 Type of battery equipment | | |
| 22 Identification / Designation / Model No | | |
| 23 Catalogue No | | |
| 24 Deviations from functional requirements | | |
| 25 Deviations from General Technical and Quality Requirements | | |
| 26 Manufacturer | Design responsibility | Supplier |
| 27 Data sheet | Drawing | Marking |
| 28 Number of cells | Filled weight        kg/cell | Transport weight        kg |
| 29 Density after 5h test        kg/m3 ±       % | Current at 5h test        A | Maximum voltage        V / cell |
| 30 Float charge voltage        V / cell | Maximum short circuit current        A | Float charge current        mA |
| 31 Gassing voltage        V / cell | Final voltage if not 1,80 V/cell        V / cell | Capacity / Discharge time        Ah / h |
| 32 Temperature coefficient | Minimum short circuit current at 1,80 V / cell        A |  |
| 33 |  |  |
| 34 Electrical connections | Dimensions |  |
| 35 |  |  |
| 36 Manufacturer’s Type Qualification | Manufacturer ´s Inspection Procedure | Manufacturer’s Inspection Plan |
| 37 Long Term Temperature Durability |  | Degree of protection |
| 38 Auxiliary equipment required | | |
| 39 Remarks | | |

TBE93 / TS-blankett tsm\_batt / 2011-06-15