|  |  |
| --- | --- |
|  | TECHNICAL SPECIFICATIONManufacturer’s Specification |
|  | Stationary Battery | 00 Document Reg. No. / Page No.      |
| 01 Plant        | System      | In-Plant Identification      | Art No      |
| 02 Safety Class (SC)       | Functional Class       | Location      | Type Approval / Qualification Report      |
| 03 Status | Prepared | Reviewed | Approved | 04 Revision | Prepared | Reviewed | Approved |
|        |       |       |       |       |       |       |       |
|        |       |       |       |       |       |       |       |

#### In-Plant Identification

|  |  |  |  |
| --- | --- | --- | --- |
| 10 In-Plant Identifications | 11 Quantity | 12 Location, Room No | 13 Plant Requirement Specification |
|       |       |       |       |
|       |       |       |       |
|       |       |       |       |
|       |       |       |       |

#### Product Specification

|  |
| --- |
| 21 Type of battery equipment      |
| 22 Identification / Designation / Model No      |
| 23 Catalogue No      |
| 24 Deviations from functional requirements           |
| 25 Deviations from General Technical and Quality Requirements           |
| 26 Manufacturer      | Design responsibility      | Supplier      |
| 27 Data sheet      | Drawing      | Marking      |
| 28 Number of cells        | Filled weight       kg/cell | Transport weight      kg  |
| 29 Density after 5h test      kg/m3 ±       % | Current at 5h test      A  | Maximum voltage       V / cell |
| 30 Float charge voltage       V / cell | Maximum short circuit current       A  | Float charge current       mA  |
| 31 Gassing voltage       V / cell | Final voltage if not 1,80 V/cell      V / cell | Capacity / Discharge time      Ah / h  |
| 32 Temperature coefficient       | Minimum short circuit current at 1,80 V / cell       A  |            |
| 33            |            |            |
| 34 Electrical connections      | Dimensions      |            |
| 35            |            |            |
| 36 Manufacturer’s Type Qualification      | Manufacturer ´s Inspection Procedure      | Manufacturer’s Inspection Plan      |
| 37 Long Term Temperature Durability      |            | Degree of protection      |
| 38 Auxiliary equipment required      |
| 39 Remarks           |

TBE93 / TS-blankett tsm\_batt / 2011-06-15